## Sheet1
WKU Residential Buildings Fire Log 2021 | Total Fire Alarms in Building for calendar year 2021 | Fire Alarm Number | Date of Fire Alarm | Time of Fire Alarm | Cause of Fire Alarm | Number of Injuries that required treatment at a Medical Facility | Number of Deaths related to Fire* | Value of Property damage caused by Fire | Incident Number
Bates Runner
Douglas Keen Hall | 2 | 1 | 2021-01-24 | 22:03 | Dust in smoke detector |  |  |  | 2021-0298
|  | 1 | 2021-07-20 | 7:42 | Dirty detector |  |  |  | 20213153
|  | 1 | 2021-08-07 | 7:20 | Burnt PC |  |  |  | 202108161
|  | 1 | 2021-01-26 | 13:28 | Burnt Food |  |  |  | 2021-0326
Gilbert Hall | 1 | 1 | 2021-02-20 | 3:10 | Activated Pull station |  |  |  | 2021-0680
HIllTopper Hall
Hugh Poland Hall |  | 1 | 2021-10-10 | smoke from marijuana cigarette |  |  |  |  | 20211995
1355 Kentucky St. Apts | 2 | 1 | 2021-03-17 | 20:07 | Burnt Food |  |  |  | 2021-1182
|  | 1 | 2021-05-24 | 23:35 | Small Grease fire that was put out by the resident |  |  |  | 2021-2201
1350 Kentucky St Apts Gateway
McCormack Hall | 1 | 1 | 2021-02-06 | 2:49 | fire extinguisher was discharged on south stiarwell |  |  |  | 2021-0466
McLean Hall | 1 | 1 | 2021-01-31 | 16:56 | Bunrt food |  |  |  | 2021-0397
Meredith Hall
Minton Hall |  | 1 | 2021-10-09 | 0:38 | Burnt Food |  |  |  | 20211281
Normal Hall | 2 | 1 | 2021-02-28 | 18:44 | Dirty detector |  |  |  | 2021-0851
|  | 1 | 2021-03-01 | 22:58 | Faulty detector |  |  |  | 2021-0861
Northeast Hall
Pearce Ford Tower | 2 | 1 | 2021-02-16 | 13:07 | Malfunctioning heat unit caused a hot water main to break |  |  |  | 2021-0621
|  | 1 | 2021-10-02 | 14:26 | HVAC failed causing PDD to activate |  |  |  | 20214907
Regents Hall |  | 1 | 2021-09-13 | 1:51 | Dust from HVAC |  |  |  | 20214082
Rodes Harlin Hall
SAE Fraternity House | 1 | 1 | 2021-04-16 | 0:07 | Dirty Detector |  |  |  | 2021-1615
Southwest Hall | 1 | 1 | 2021-02-26 | 19:47 | Burnt Food |  |  |  | 2021-0805
Zacharias Hall
Miscellaneous
Scholar/Colonial Apartment | 1 | 1 | 2021-03-27 | 10:11 | Fault detector |  |  |  | 2021-1331
*- Number of Deaths Related To Fire includes deaths within one year of injuries sustained as a result of the Fire.
TOTAL Alarms